INFUSION PUMP SAFETY SIMULATOR

AI Pipeline & Model Specification

Version 1.0  ·  QR Seed Pilot Study

University Research  ·  Confidential

This document specifies the complete AI training pipeline — from raw session log to training record to model training, evaluation, and versioning — for the Infusion Pump Safety Simulator research project.

1. Pipeline Overview

The AI pipeline transforms simulated nurse–pump interactions into a structured training dataset, then trains a classifier to predict the risk level of novel infusion pump sessions. The pipeline has three stages:

| Stage 1 Data Generation | Interactive or synthetic sessions drive the pump state machines. Every session produces a SessionLogEntry[] and final PumpState. The feature extractor converts these into a TrainingRecord with 40+ typed fields. |
| --- | --- |

| Stage 2 Labelling | The labelling rules engine (R01–R21 + BB-R01–BB-R05) assigns risk_label, risk_score, and per-layer sub-scores to every record. Layer 0 design_score is merged from the device registry. The composite_score and grade are computed. |
| --- | --- |

| Stage 3 Training & Evaluation | The assembled dataset (CSV) is passed to the Research Panel Training tab, which sends it to the FastAPI backend. The backend trains the selected model type, evaluates accuracy and feature importance, and returns the model metadata for versioned storage. |
| --- | --- |

2. Session Log to Training Record

2.1  SessionLogEntry Schema

Every user action on any pump produces a SessionLogEntry. These are immutable (never mutated after creation). The log is the raw data source for all features.

| Field | Type | Description |
| --- | --- | --- |
| timestamp | number | Milliseconds since session start (monotonically increasing) |
| screen | PumpScreen | Active screen when the event occurred |
| event | EventType | Categorised event type — see EventType below |
| rate | number? | Rate buffer value at the time of the event |
| delta | number? | Chevron delta (+10, -1, etc.) for rate_adjust events |
| newRate | number? | Rate buffer after applying the delta |
| drug | string? | Drug name if relevant (drug_selected events) |
| vtbi | number? | VTBI value in ml if relevant |
| guardrailStatus | string? | "ok" ¦ "warning" ¦ "blocked" |
| overrideChoice | string? | "override" ¦ "re-enter" — logs the nurse's guardrail decision |
| alarmType | AlarmType? | Alarm type if alarm_triggered |
| bolusVolume | number? | Volume delivered (ml) for bolus events |
| pressureLevel | number? | Pressure level L0–L8 for pressure events |

2.2  EventType Enumeration

The complete set of loggable event types:

session_start / session_end  —  Bookend events — every session has exactly one of each

language_selected  —  First user action — boot sequence complete

drug_selected  —  Drug chosen from library or MANUAL mode selected

rate_adjust  —  Chevron pressed — most frequent event type in dataset

boundary_hit  —  Attempted to move past RATE_MIN or RATE_MAX

correction  —  Direction reversal detected — key metric for R14

guardrail_warning  —  Soft limit hit on RUN — screen transition to GUARDRAIL_WARNING

guardrail_override  —  Nurse chose OVERRIDE — MOST SAFETY-CRITICAL EVENT

guardrail_blocked  —  Hard limit hit on RUN — screen transition to GUARDRAIL_BLOCKED

guardrail_re_entered  —  Nurse chose RE-ENTER after warning

vtbi_set / vtbi_cleared  —  VTBI programmed or removed

infusion_started  —  RUN confirmed, infusion begins — feature extraction trigger

infusion_held / resumed  —  HOLD / RUN pressed during active infusion

infusion_complete  —  volumeInfused ≥ vtbi — KVO mode begins

bolus_started / ended  —  Hold-to-deliver bolus; volume accumulated between events

alarm_triggered / silenced  —  Alarm state entered; MUTE pressed or SILENCE softkey

pressure_viewed / adjusted  —  Pressure screen entered; L-level changed

options_opened  —  OPTIONS menu accessed

volume_cleared  —  Volume infused counter reset

mute_pressed  —  MUTE button pressed — 120-second silence period

3. Unified Training Record Schema (TrainingRecord)

Every session — whether from the Alaris GP, B. Braun Infusomat, or Graseby 3100 — is serialised to a TrainingRecord with this exact schema. The schema is device-agnostic; device-specific fields are set to 0 / null / "N/A" for devices that do not support them. This allows a single ML model to train on data from all devices simultaneously.

Serialisation: Every TrainingRecord is JSON-serialisable and CSV-compatible without transformation. The toCSV() function in featureExtractor.ts produces a header row matching exactly the field order below.

Metadata

| Field | Type | Description |
| --- | --- | --- |
| record_id | string | Unique record identifier, e.g. "alaris_001_task_03" |
| session_id | string | UUID — unique per simulated session |
| timestamp_iso | string | ISO 8601 datetime of session start |
| pump_model | string | "alaris_gp" ¦ "braun_infusomat" ¦ "graseby_3100" |
| firmware_version | string | Simulated firmware version string |

Layer 1 — Interaction Features

| Field | Type | Description |
| --- | --- | --- |
| entry_time_ms | number | Wall-clock ms from first keypress to RUN confirmation |
| total_keypresses | number | All chevron presses during rate entry |
| large_up_count | number | »» presses (delta = +10) |
| small_up_count | number | » presses (delta = +1) |
| small_down_count | number | « presses (delta = -1) |
| large_down_count | number | «« presses (delta = -10) |
| correction_count | number | Direction reversals — primary Cauchi et al. metric |
| boundary_hit_count | number | Times RATE_MIN or RATE_MAX was reached |
| large_btn_ratio | number | (large_up + large_down) / total_keypresses (0–1) |
| golden_path_ratio | number | actual_keypresses / minimum_possible_keypresses (≥1.0) |
| final_rate_ml_h | number | Actual programmed rate converted to ml/h |
| intended_rate_ml_h | number | Target rate (task mode) converted to ml/h |
| error_magnitude_ml_h | number | ¦final - intended¦ in ml/h |
| relative_error | number | error_magnitude / intended (0 = perfect) |
| confirmed_incorrect | 0¦1 | 1 if infusion started with the wrong value |
| drug_unit_used | string | Dose unit displayed during entry (e.g. "µg/kg/min") |

Layer 2 — Configuration Features

| Field | Type | Description |
| --- | --- | --- |
| drug_id | string | Drug library ID (e.g. "morphine", "manual") |
| drug_name | string | Display name (max 12 chars for LCD) |
| drug_library_used | 0¦1 | 1 if drug selected from library; 0 = MANUAL |
| guardrail_soft_min | number | Drug soft minimum in drug units |
| guardrail_soft_max | number | Drug soft maximum in drug units |
| guardrail_hard_min | number | Drug hard minimum in drug units |
| guardrail_hard_max | number | Drug hard maximum in drug units |
| guardrail_warning_shown | 0¦1 | 1 if soft limit warning appeared this session |
| guardrail_override | 0¦1 | 1 if nurse clicked OVERRIDE on warning |
| guardrail_blocked | 0¦1 | 1 if hard limit was hit at any point |
| rate_within_soft_limits | 0¦1 | 1 if final rate is within soft limits |
| vtbi_set | 0¦1 | 1 if VTBI was programmed |
| vtbi_value_ml | number | VTBI in ml (0 if not set) |
| kvo_rate_ml_h | number | KVO rate configured |
| bolus_delivered | 0¦1 | 1 if bolus was used during session |
| bolus_volume_ml | number | Total bolus volume delivered in ml |
| secondary_infusion | 0¦1 | 1 if secondary infusion configured |
| patient_weight_kg | number | Patient weight for dose/kg calculations |
| pressure_alarm_level | number | 1–8 (L1–L8); L5 = factory default |

Layer 3 — System / Device State Features

| Field | Type | Description |
| --- | --- | --- |
| days_since_maintenance | number | 0–730 (2 years max) |
| battery_level_pct | number | 0–100 |
| firmware_version_risk | 0¦1 | 1 if firmware version is in the CVE list |
| network_connected | 0¦1 | 1 if connected to Gateway |
| drug_library_age_days | number | Days since drug library was last updated |
| config_drift_score | number | 0.0–1.0 deviation from hospital standard config |
| recent_occlusion_alarms | number | Occlusion alarms in simulated last 24h |
| alarms_during_session | number | Alarms triggered in this session |

Layer 0 — Design Score + All Layer Scores

| Field | Type | Description |
| --- | --- | --- |
| design_score | number | Layer 0 penalty-based design score (0–1) |
| interaction_score | number | Layer 1 sub-score (0–1) |
| configuration_score | number | Layer 2 sub-score (0–1) |
| system_score | number | Layer 3 sub-score (0–1) |
| composite_score | number | Weighted composite (0–1); primary ML target |
| grade | string | "A+" ¦ "A" ¦ "B" ¦ "C" ¦ "D" ¦ "E" ¦ "F" |
| design_reasons | string[] | Penalty factors fired for Layer 0 |
| interaction_reasons | string[] | Rule IDs fired for Layer 1 |
| configuration_reasons | string[] | Rule IDs fired for Layer 2 |
| system_reasons | string[] | Rule IDs fired for Layer 3 |

Risk Label (Target Variable)

| Field | Type | Description |
| --- | --- | --- |
| risk_label | "low"¦"medium"¦"high" | Classification target for AI model training |
| risk_score | number | Same as composite_score (continuous target for regression) |
| risk_reasons | string[] | All rule IDs that fired, prefixed with rule ID |

4. Synthetic Data Generation

4.1  Scenario Profiles

Synthetic sessions are generated by driving the pure pump state machines (no React, no timers) with a deterministic LCG random number generator. Four scenario profiles control device state and nurse behaviour:

| Profile ID | Name | Device State & Behaviour | Dataset Share | Expected Label |
| --- | --- | --- | --- | --- |
| ideal | Well-maintained, connected | Ideal ward conditions — 0–30 days maintenance, 80–100% battery, WiFi connected, library current (0–14 days). Max rate error 5%. Correction probability 5%. | ~40% weight | Low–medium |
| neglected | Overdue maintenance, isolated | Common ward scenario — 180–730 days maintenance, 10–40% battery, no network, library 90–365 days old, config drift 0.3–0.8. Max rate error 15%. | ~30% weight | Medium–high |
| cyber_risk | Known vulnerable firmware | Device firmware from CVE vulnerability list. Maintenance 30–180 days. Network connected. Library current. Max rate error 8%. | ~15% weight | High |
| emergency | Emergency use, MANUAL mode | Force MANUAL mode (no drug library). Mixed network state. Variable maintenance. Max rate error 20%. High VTBI omission rate. | ~15% weight | Medium–high |

4.2  Behaviour Parameters per Profile

Each profile configures these simulation behaviour parameters:

keypress_interval_ms  —  Time between simulated chevron presses (ms). Lower = faster typist.

correction_probability  —  Probability (0–1) of inserting a direction reversal before the main entry.

max_rate_error  —  Maximum fractional error applied to the intended rate (e.g. 0.10 = ±10%).

vtbi_omission_rate  —  Probability (0–1) of omitting VTBI programming (triggers R13).

override_probability  —  Probability (0–1) of choosing OVERRIDE when a guardrail warning appears.

force_manual  —  Boolean — forces MANUAL mode selection regardless of drug library state.

4.3  Dataset Size and Distribution Target

Default generation: 500 records (npm run generate). Seed 42 is the default for reproducibility. Target distribution:

Low risk:    ~30% of records

Medium risk: ~40% of records

High risk:   ~30% of records

The profile weights are calibrated to approximate this distribution. Actual distribution varies with RNG seed. Use summariseDistribution() to verify.

Braun note: B. Braun records may have a higher proportion of medium/high risk due to BB-R01 (unsigned firmware) firing as MEDIUM on every session, and BB-R02 (HIGH) on networked sessions.

5. Feature Importance

5.1  Feature Groups

The 40+ features are grouped into four families matching the 4-layer risk model. Tree-based models (Random Forest, XGBoost) produce feature importance scores that naturally cluster by group:

| Layer 0 — Design design_score | Single aggregated score. In tree models, typically the most important feature for separating device-level risk. Graseby 3100 (0.63) vs Alaris GP (0.88) creates large separations in the feature space. |
| --- | --- |

| Layer 1 — Interaction relative_error, correction_count, boundary_hit_count, entry_time_ms, golden_path_ratio, confirmed_incorrect | relative_error and confirmed_incorrect are the highest-importance interaction features (directly trigger HIGH rules R01/R02/R08). correction_count and boundary_hit_count have moderate importance (R14, R15). |
| --- | --- |

| Layer 2 — Configuration drug_library_used, guardrail_override, guardrail_blocked, vtbi_set, drug_id | drug_library_used is very high importance (R12, R04 — MANUAL mode is the second most common driver of high labels). guardrail_override (R11) is important as it is the rarest but most clinically significant configuration event. |
| --- | --- |

| Layer 3 — System firmware_version_risk, days_since_maintenance, network_connected, battery_level_pct, config_drift_score | firmware_version_risk has high importance for cyber-risk profiles (R05). days_since_maintenance is important for separating neglected vs ideal profiles. battery_level_pct has lower importance because it rarely drops below 20% in isolation. |
| --- | --- |

5.2  Feature Importance Methods by Model Type

| Model | Importance Method | Notes |
| --- | --- | --- |
| Random Forest | MDI (Mean Decrease in Impurity) | Native to sklearn. Computed during training. Normalized to sum to 1.0. Reported per feature as float. Top features by MDI are generally reliable for tree-based models with balanced classes. |
| XGBoost / GBDT | Gain importance (XGBoost default) | Average gain contributed by a feature across all split nodes. "Weight" (frequency) and "cover" (number of samples) also available. Gain is recommended for medical data as it penalises noisy splits. |
| Logistic Regression | Coefficient magnitude | Absolute value of the trained coefficient after feature scaling (StandardScaler). Only valid as importance proxy when features are normalised — which they are (0–1 range for all numeric features in TrainingRecord). |
| SVM | Linear kernel: coefficient weight; RBF: permutation importance | For linear SVM the hyperplane normal vector gives direct feature weights. For RBF kernel, permutation importance (sklearn permutation_importance) is used. |
| Neural Network (MLP) | Permutation importance | Post-hoc method: shuffle each feature independently and measure accuracy drop. Computationally expensive but model-agnostic. Implemented in backend server for MLP models. |

6. Available Model Types

The Research Panel Training tab exposes the following model types. All are implemented via scikit-learn (sklearn) on the FastAPI backend server. The backend is located at server/main.py.

Random Forest Classifier

| model_type | random_forest |
| --- | --- |
| sklearn class | sklearn.ensemble.RandomForestClassifier |
| Description | Ensemble of decision trees. Robust to outliers and handles non-linear feature interactions naturally. Best default choice for medical data where feature interactions matter (e.g. drug_library_used × relative_error). |
| Default params | n_estimators=100 · max_depth=None · class_weight="balanced" |
| Importance | High — MDI importance, OOB score available |
| Speed / Recommendation | Medium (~0.5s for 500 records) — Best overall for this dataset |

Gradient Boosted Decision Trees (GBDT)

| model_type | gradient_boosting |
| --- | --- |
| sklearn class | sklearn.ensemble.GradientBoostingClassifier |
| Description | Sequential ensemble — each tree corrects the errors of the previous. Generally achieves higher accuracy than Random Forest on structured data but requires more hyperparameter tuning and is slower. |
| Default params | n_estimators=200 · learning_rate=0.1 · max_depth=4 |
| Importance | High — Gain/frequency/cover importance |
| Speed / Recommendation | Slow (~3s for 500 records) — Highest accuracy; use when accuracy > speed |

Logistic Regression

| model_type | logistic_regression |
| --- | --- |
| sklearn class | sklearn.linear_model.LogisticRegression |
| Description | Linear classifier. Interpretable coefficients. Best choice for verifying that the feature engineering is correct (if LR achieves high accuracy, the features are linearly separable as expected from the labelling rules). |
| Default params | C=1.0 · max_iter=1000 · class_weight="balanced" |
| Importance | Direct coefficient weights (after StandardScaler) |
| Speed / Recommendation | Fast (<0.1s) — Interpretability baseline |

Support Vector Machine

| model_type | svm |
| --- | --- |
| sklearn class | sklearn.svm.SVC |
| Description | Maximum-margin classifier. Effective in high-dimensional spaces. Linear kernel is used by default for interpretability; RBF kernel available for non-linear boundaries. |
| Default params | C=1.0 · kernel="rbf" · class_weight="balanced" · probability=True |
| Importance | Permutation importance (post-hoc) |
| Speed / Recommendation | Medium (~1s for 500 records) — Good for small datasets (<1000 records) |

Multi-Layer Perceptron (Neural Network)

| model_type | mlp |
| --- | --- |
| sklearn class | sklearn.neural_network.MLPClassifier |
| Description | Feedforward neural network. 2 hidden layers with ReLU activation. Not recommended for small datasets (<500 records) due to overfitting risk. Included for benchmarking purposes. |
| Default params | hidden_layer_sizes=(64,32) · activation="relu" · max_iter=500 |
| Importance | Permutation importance (slow) |
| Speed / Recommendation | Slow (~5s for 500 records) — Benchmarking only; prefer RF or GBDT |

K-Nearest Neighbours

| model_type | knn |
| --- | --- |
| sklearn class | sklearn.neighbors.KNeighborsClassifier |
| Description | Instance-based learning. Simple but useful as a baseline. Sensitive to feature scaling — StandardScaler is always applied. Feature importance via permutation only. |
| Default params | n_neighbors=5 · weights="uniform" |
| Importance | Permutation importance |
| Speed / Recommendation | Fast at inference — Baseline comparison |

7. Model Versioning

7.1  ModelMeta Schema

Every trained model is stored with a ModelMeta record. This is the versioning contract between the backend server and the Research Panel frontend.

| Field | Type | Description |
| --- | --- | --- |
| model_id | string | Auto-generated UUID for this specific trained model |
| name | string | Human-readable name assigned at training time |
| model_type | string | "random_forest" ¦ "gradient_boosting" ¦ "logistic_regression" ¦ "svm" ¦ "mlp" ¦ "knn" |
| created_at | string | ISO 8601 datetime when the model was trained |
| training_dataset | string | Filename of the CSV dataset used for training |
| n_records | number | Number of training records used |
| accuracy | number | Test set accuracy (0–1) on held-out 20% split |
| f1_macro | number | Macro-averaged F1 score across all 3 classes |
| feature_importance | Record | Map of feature_name → importance_score (0–1) |
| confusion_matrix | number[][] | 3×3 matrix [low][medium][high] actual vs predicted |
| class_report | string | Full sklearn classification_report as JSON string |
| hyperparameters | Record | Key–value map of the parameters used for training |
| notes | string | Optional free-text annotation by researcher |

7.2  Training Flow

| Step | Action | Detail |
| --- | --- | --- |
| 1 | Dataset upload | Researcher uploads a CSV (or uses last generated scenario dataset) via the TRAINING tab in the Research Panel. |
| 2 | POST /train | Frontend sends { dataset_name, model_type, hyperparameters?, name? } to the FastAPI backend at http://localhost:8000/train. |
| 3 | Train/test split | Backend loads the CSV, applies StandardScaler to numeric features, splits 80/20 (stratified by risk_label), fits the selected model. |
| 4 | Evaluation | Accuracy, macro-F1, confusion matrix, and per-class precision/recall/F1 are computed on the test split. Feature importance extracted per model type. |
| 5 | ModelMeta saved | Full ModelMeta record is saved to server/models/{model_id}.json. The fitted model is pickled to server/models/{model_id}.pkl. |
| 6 | Response | Backend returns ModelMeta as JSON. Frontend displays metrics in the Training tab and lists the model in the model selector for predictions. |
| 7 | Prediction | POST /predict sends a TrainingRecord (without risk_label) to the backend. The backend loads the model by model_id and returns PredictResult { predicted_label, confidence, probabilities }. |

8. Backend API Reference (FastAPI)

The backend server is a FastAPI application (server/main.py). Run with: cd server && uvicorn main:app --reload. Default URL: http://localhost:8000. OpenAPI docs at /docs.

| Method | Endpoint | Description | Input | Output |
| --- | --- | --- | --- | --- |
| GET | /datasets | List all saved dataset files. Returns DatasetMeta[]. | None | DatasetMeta[] |
| POST | /datasets | Save a new dataset. Body: { name, records: TrainingRecord[] }. | DatasetUploadBody | DatasetMeta |
| DELETE | /datasets/{filename} | Delete a dataset file from the server. | filename (path) | { ok: true } |
| GET | /datasets/{filename}/csv | Download dataset as CSV. | filename (path) | text/csv |
| GET | /datasets/{filename}/json | Download dataset as JSON. | filename (path) | application/json |
| POST | /train | Train a model on a named dataset. | TrainRequest | ModelMeta |
| GET | /models | List all trained model metadata. | None | ModelMeta[] |
| GET | /models/{model_id} | Retrieve metadata for a specific model. | model_id (path) | ModelMeta |
| POST | /predict | Predict risk label for a TrainingRecord. | PredictRequest { model_id, record } | PredictResult |
| DELETE | /models/{model_id} | Delete a trained model and its metadata. | model_id (path) | { ok: true } |

9. Future Phases and Extension Points

Phase 2 (planned) — Baxter Sigma Spectrum + ICU Medical Plum 360

Activate sigma_spectrum and plum_360 device profiles (currently stubs in deviceDesign.ts)

Build BraunStateMachine-equivalent state machines for both devices

Add Sigma Spectrum SpaceCom drug library protocol and DERS rules

Extend BRAUN_HIGH_RULES pattern to device-specific rule files (sigmaRules.ts, plumRules.ts)

Re-run dataset generation and validate distribution across all 5 devices

Phase 3 (planned) — Fresenius Kabi Agilia VP + CADD-Solis PCA

Activate agilia_vp and cadd_solis profiles

Model Agilia Connect Management System (ACMS) network protocol

Model PCA lockout interval logic for CADD-Solis (different from KVO)

Add patient-controlled bolus events to SessionLogEntry EventType

Extend TrainingRecord with pca_lockout_interval, patient_bolus_count fields

AI Model Enhancement (ongoing) — Improved classification and explainability

Replace rule-based labels with SHAP values (TreeExplainer for RF/GBDT)

Add cross-device transfer learning experiment: train on Alaris GP → test on Braun

Add time-series features: moving average of rate_adjust events over session

Experiment with class-weighted sampling to balance low/medium/high proportions

Add ROC-AUC and calibration plot outputs to ModelMeta

Implement model comparison view: side-by-side accuracy/F1 across model types

Data Export & Integration — Research pipeline integration

REDCap integration: export TrainingRecord fields matching CRF variable names

FHIR R4 mapping: convert session events to AuditEvent and MedicationAdministration resources

Add experiment versioning: dataset hash + model_id + git SHA tracked per training run

Reproducibility: seed logged in ModelMeta; regenerating same seed produces identical dataset

10. Key File Structure

src/ pump/ Pure TypeScript state machines (no React) types.ts SessionLogEntry, PumpState, EventType, AlarmType constants.ts FACTORY_DEFAULTS (all magic numbers from DFU) stateMachine.ts Alaris GP state transitions guardrails.ts Guardrail check logic display.ts rateToMlH() conversion, display state braun/ braunStateMachine.ts B. Braun Infusomat state machine braunTypes.ts BraunPumpState, BraunSessionLogEntry braunConstants.ts BRAUN_DEFAULTS braunDrugLibrary.ts 11-drug B. Braun library graseby/ grasebyStateMachine.ts Graseby 3100 state machine ai/ featureExtractor.ts SessionLogEntry[] → TrainingRecord (extractFeatures, toCSV) labellingRules.ts R01–R21 rules + applyLabellingRules() braunRules.ts BB-R01–BB-R05 + applyBraunRules() deviceDesign.ts Layer 0 design scores + DEVICE_REGISTRY scenarioGenerator.ts SCENARIO_PROFILES + generateDeviceContext() datasetBuilder.ts generateDataset() + generateBraunDataset() + generateCombinedDataset() sessionAdapter.ts buildTrainingRecord() — interactive session → TrainingRecord ruleExplainer.ts explainRow() — human-readable rule explanation per record api/ researchApi.ts API client (TypeScript) for backend communication server/ main.py FastAPI application — train, predict, dataset endpoints requirements.txt fastapi, uvicorn, scikit-learn, pandas, numpy, joblib data/ sessions/ Raw session JSON files (from interactive use) dataset/ Generated training CSVs models/ Trained model .pkl + .json metadata files

npm run generate

Runs vite-node src/ai/datasetBuilder.ts to generate 500 records and write data/dataset/training.csv. All three device generators are run and combined into a single unified CSV via generateCombinedDataset().