# Alaris GP Infusion Pump Simulator

AI-Empowered Safety and Security Ranking System for Medical Devices

Project documentation — 28 March 2026

QR Seed Pilot Study  |  University Research Project

# 1. Project Overview

This project builds a research-grade interactive simulator of the BD/CareFusion Alaris GP Volumetric Infusion Pump. The simulator serves two simultaneous goals:

Behavioural fidelity — the simulator replicates the exact behaviour of the physical Alaris GP pump as documented in the official Directions For Use (DFU) manual.

Data generation — every simulated session produces a structured training record that feeds directly into a baseline AI risk classification model.

The research question: can a machine-learning classifier, trained on simulator-generated interaction and device data, rank and predict the risk level of infusion pump programming sessions — and generalise to other medical device classes?

# 2. Funding and Research Context

"An AI-Empowered Safety and Security Ranking System for Infusion Pump Medical Devices" — QR Seed Pilot Study, 6-month timeline.

Primary research references:

Cauchi et al. (2011) "Towards Dependable Number Entry for Medical Devices" — EICS4Med Workshop, CHI-MED Project. Source of interaction feature definitions (golden_path_ratio, correction_count, error_magnitude).

Thimbleby & Cairns (2010) Journal of the Royal Society Interface 7(51):1429–1439 — relative_error and human factors analysis.

PVSio-web formal model: https://github.com/pvsioweb/pvsio-web — Reference formal state machine for Alaris GP.

FDA Infusion Pump Safety guidance — Device/system feature definitions.

IEC 62443 — Cybersecurity criteria for connected medical devices (network layer).

# 3. Manuals and Standards Followed

## 3.1 Primary Hardware Reference

All pump behaviour, factory defaults, and screen layouts are derived from:

BD document 1000DF00152 Issue 1 — Alaris GP Volumetric Pump, Directions For Use (DFU)

BD document BDDF00535 Issue 4 — Alaris GP with Guardrails, Directions For Use (DFU)

BD document 1000SM00013 Issue 4 — Alaris GP Technical Service Manual

## 3.2 Factory Defaults Implemented (from DFU manual, exact values)

| Parameter | Value | DFU Source |
| --- | --- | --- |
| Rate minimum | 0.1 ml/h | Factory defaults table |
| Rate maximum | 1200 ml/h | Factory defaults table |
| VTBI maximum | 9999 ml | Factory defaults table |
| KVO rate | 1.0 ml/h | Factory defaults table |
| Bolus rate default | 500 ml/h | Factory defaults table |
| Bolus volume maximum | 5 ml | Factory defaults table |
| Pressure default | L5 | Factory defaults table |
| Chevron small step | 1 unit | Controls section |
| Chevron large step | 10 units | Controls section |
| Hold delay | 500 ms | Controls section |
| Hold repeat interval | 80 ms | Controls section |
| Mute duration | 120 s | Alarm section |
| Power-off hold | 3 s | ON/OFF section |
| Infusion tick | 500 ms | Simulation (not DFU) |

## 3.3 Drug Library (clinically validated concentrations)

| Drug | Unit | Soft Range | Hard Range | Risk Context |
| --- | --- | --- | --- | --- |
| MANUAL ml/h | ml/h | 1 – 1200 | 0.1 – 1200 | Highest risk: no guardrails |
| ADRENALINE | µg/kg/min | 0.01 – 0.5 | 0.001 – 1.0 | Vasopressor, ICU, narrow window |
| MORPHINE | mg/h | 1 – 10 | 0.5 – 20 | Opioid, respiratory depression |
| HEPARIN | U/h | 500 – 2000 | 100 – 5000 | Anticoagulant, bleeding risk |
| DOPAMINE | µg/kg/min | 2 – 20 | 1 – 50 | Vasopressor, dose-dependent |
| NORADRENALINE | µg/kg/min | 0.01 – 0.3 | 0.001 – 2.0 | Septic shock, extreme narrow |
| PROPOFOL | mg/kg/h | 1 – 6 | 0.5 – 12 | Sedative, PRIS risk >4 mg/kg/h |
| INSULIN | U/h | 1 – 10 | 0.5 – 50 | Hypoglycaemia risk |
| AMIODARONE | mg/h | 10 – 100 | 5 – 150 | Antiarrhythmic, phlebitis |
| KCl 20mmol | mmol/h | 5 – 20 | 1 – 40 | Cardiac arrest if rapid bolus |

## 3.4 Screen States Implemented

All 12 screen states from the DFU manual workflow are implemented:

LANGUAGE_SELECT — First boot language selection

DRUG_SELECT — Drug library browser (cursor navigation)

WEIGHT_ENTRY — Patient weight (for dose/kg calculations)

RATE_ENTRY — Main chevron entry screen

VTBI_ENTRY — Optional volume-to-be-infused setting

GUARDRAIL_WARNING — Soft limit exceeded (OVERRIDE or RE-ENTER)

GUARDRAIL_BLOCKED — Hard limit exceeded (RE-ENTER only)

RUNNING — Active infusion with volume counter

ON_HOLD — Infusion paused

ALARM — Alarm condition active

OPTIONS — Options menu (VTBI, KVO, event log)

PRESSURE_VIEW — Pressure display and alarm level adjustment

# 4. Project Architecture

The codebase is divided into five strictly separated layers:

## 4.1 Layer 1 — Pure Pump State Machine (src/pump/)

Zero React imports. Pure TypeScript functions only. Can be run programmatically without a browser.

types.ts — All shared interfaces: PumpScreen, PumpState, Drug, SessionLogEntry, AlarmType, EventType

constants.ts — FACTORY_DEFAULTS (single source of truth for all magic numbers)

drugLibrary.ts — 10-drug clinical library with guardrail limits

stateMachine.ts — 32 pure state transition functions (no side effects)

guardrails.ts — checkGuardrail() for soft/hard limit enforcement

display.ts — Unit conversion for all 14 DFU dose units, time formatting, clamping

alarms.ts — ALARM_DEFINITIONS lookup (10 alarm types, priority, stop-infusion flag)

## 4.2 Layer 2 — React Hooks (src/hooks/)

Bridge between the pure state machine and React state. Manages timers and side effects.

usePump.ts — Main bridge: exposes pump actions, manages infusion tick, bolus tick timers

useLogger.ts — Immutable session log accumulation and statistics computation

useHoldRepeat.ts — Hold-to-accelerate chevron logic (500ms delay, 80ms repeat)

## 4.3 Layer 3 — React UI Components (src/components/)

AlarisGP.tsx — Main pump visual component (LCD screen, softkeys, buttons, status bar)

NetworkSimulator.tsx — Network topology, packet flow, IDS alerts, attack injection

Research/ResearchPanel.tsx — 5-tab research interface (Task Mode, Datasets, Scenario Runner, Training, Risk Labeller)

## 4.4 Layer 4 — AI/ML Pipeline (src/ai/)

Zero React imports. Runs in browser or Node.js (via vite-node).

featureExtractor.ts — Converts SessionLog + PumpState + DeviceContext → 48-field TrainingRecord

labellingRules.ts — R01–R21 deterministic risk rules assign risk_label to each record

scenarioGenerator.ts — 4 device profiles generate realistic DeviceContext for each session

datasetBuilder.ts — Drives state machine programmatically to generate N training records

deviceSchema.ts — Generalised 3-layer schema extensible to ventilators, PCA, syringe drivers

ruleExplainer.ts — Frontend rule engine: given a row, returns which R01–R21 rules fired

## 4.5 Layer 5 — FastAPI ML Backend (server/)

main.py — REST API: dataset storage, model training, versioned inference

Algorithms: Random Forest, Decision Tree, Logistic Regression (scikit-learn)

Model versioning: each training run saved as {id}.pkl + {id}_meta.json

Inference: label + confidence + per-class probabilities + top-8 feature contributions

## 4.6 Network / Cybersecurity Layer (src/network/)

networkTypes.ts — 10 packet types, 4 realistic attack scenarios, 7 IDS detection rules

connectionMachine.ts — WiFi state machine (OFFLINE → SCANNING → … → LIBRARY_CURRENT)

packetGenerator.ts — Synthetic packet generation for all packet types including attack packets

# 5. How the Generalised Ranking System Works

## 5.1 The Three-Layer Feature Schema

All connected medical devices share a common three-layer risk structure. Layers 1 and 3 are device-independent and reusable. Layer 2 is device-specific.

| Layer | Name | Fields (Alaris GP) |
| --- | --- | --- |
| Layer 1 | Interaction Features (device-independent) | entry_time_ms, total_keypresses, correction_count, boundary_hit_count, golden_path_ratio, final_rate_ml_h, intended_rate_ml_h, error_magnitude_ml_h, relative_error, confirmed_incorrect |
| Layer 2 | Configuration Features (device-specific) | drug_id, guardrail_soft_min/max, guardrail_hard_min/max, guardrail_warning_shown, guardrail_override, guardrail_blocked, vtbi_set, bolus_delivered, patient_weight_kg, pressure_alarm_level |
| Layer 3 | Device/System Features (device-independent) | days_since_maintenance, battery_level_pct, firmware_version_risk, network_connected, drug_library_age_days, config_drift_score, recent_occlusion_alarms, alarms_during_session |

## 5.2 Data Generation Pipeline

Step 1 — Scenario profile is selected (ideal, neglected, cyber_risk, emergency)

Step 2 — Device context is generated: random values within profile ranges for all Layer 3 features

Step 3 — The pure state machine is driven programmatically: drug selection → weight entry → rate entry with realistic errors and corrections → guardrail handling → infusion run

Step 4 — SessionLog is passed to featureExtractor.ts → 48-field TrainingRecord is produced

Step 5 — labellingRules.ts applies R01–R21 rules → risk_label assigned (low / medium / high)

Step 6 — Records accumulate → exported as CSV and JSON for ML training

## 5.3 Risk Labelling Rules (R01–R21)

Rules are grounded in clinical literature and regulatory guidance:

HIGH RISK rules (any single trigger is sufficient for HIGH label):

| Rule | Condition | Source |
| --- | --- | --- |
| R01 | ≥90% relative dose error (10x error) | Thimbleby & Cairns (2010) |
| R02 | ≥50% relative dose error (2x error) | Thimbleby & Cairns (2010) |
| R03 | Hard guardrail limit triggered | DFU manual Guardrails section |
| R04 | MANUAL mode + rate > 200 ml/h | Clinical judgement |
| R05 | Firmware has known published CVE | FDA cybersecurity guidance |
| R06 | No preventive maintenance in > 1 year | FDA device safety guidance |
| R07 | KCl outside soft limits (cardiac arrest risk) | Clinical: electrolyte safety |
| R08 | Confirmed wrong value (>10% error + infusion started) | Cauchi et al. (2011) |

MEDIUM RISK rules (any trigger without a HIGH rule → MEDIUM label):

| Rule | Condition | Source |
| --- | --- | --- |
| R10 | ≥10% relative dose error | Thimbleby & Cairns (2010) |
| R11 | Soft guardrail warning overridden | Cauchi et al. (2011) |
| R12 | MANUAL mode (no drug library) | Clinical judgement |
| R13 | VTBI not set | Clinical practice |
| R14 | >5 corrections during rate entry | Cauchi et al. (2011) |
| R15 | Boundary hit during entry | Cauchi et al. (2011) |
| R16 | Drug library outdated (>90 days) | Clinical governance |
| R17 | Battery < 20% | FDA device safety |
| R18 | Not connected to gateway | IEC 62443 |
| R19 | Config drift score > 0.5 | Clinical governance |
| R20 | ≥3 occlusion alarms in last 24h | DFU alarm section |
| R21 | Rate entry took > 60 seconds | Cauchi et al. (2011) |

## 5.4 ML Model Training

Three algorithms are supported:

Random Forest (100 trees, balanced class weights) — Primary model. Handles non-linear feature interactions well. Provides feature importances.

Decision Tree (max depth 10, balanced) — Interpretable single tree. Useful for understanding rule boundaries.

Logistic Regression (max iter 500, balanced) — Linear baseline. Fast, interpretable coefficients.

Training workflow:

Upload one or more generated datasets via the Research panel.

Select algorithm and datasets in the Training tab.

Backend combines datasets, trains model, evaluates on stratified 20% test split.

Model saved as versioned .pkl file with accuracy, F1, confusion matrix, and feature importances.

Retrain with more data to observe how accuracy and feature weights shift.

## 5.5 Risk Prediction and Explainability

The Risk Labeller tab provides a dual explanation for every prediction:

Rule explanation (right panel): applies R01–R21 rules directly to the row and shows which rules fired. This is the ground truth explanation — deterministic, always correct, no model needed.

Model explanation (left panel): the trained ML model returns label + confidence scores per class (low/medium/high) + top-8 contributing features weighted by importance × deviation from training mean.

The dual panel answers a key research question: when the model disagrees with the rules, which is right? Model predictions of HIGH when rules say MEDIUM indicate that the model found a feature combination pattern the hand-crafted rules missed — a genuine research finding.

## 5.6 Generalisation to Other Devices

The deviceSchema.ts file defines the extensibility pattern. To add a new device class:

Define Layer 2 configuration interface for that device (e.g. VentilatorConfig, PCAConfig).

Implement device-specific risk rules (e.g. VENT-R01: tidal volume > 10 ml/kg IBW).

Build or connect a simulator for that device class.

Generate training records using the same 3-layer schema.

Train a unified model on combined multi-device data using device_type one-hot encoding.

Already prototyped in deviceSchema.ts:

VentilatorConfig — Puritan Bennett PB980 / Dräger Evita. Key risk: VILI from tidal volume errors.

PCAConfig — Smiths CADD-Solis PCA pump. Key risk: opioid accumulation / respiratory depression.

SyringeDriverConfig — BD Alaris Syringe / Graseby 3100. Key risk: air embolism, dose error.

# 6. Cybersecurity and Network Security Layer

The Network Simulator tab models real-world network attack scenarios applicable to connected infusion pumps. This maps to the "Security" component of the Safety & Security ranking system.

Four simulated attack scenarios (based on published CVEs):

| Attack | CVE Reference | Effect | IDS Rule |
| --- | --- | --- | --- |
| MITM Drug Library | CVE-2020-25165 | Guardrail limits replaced in transit. Dangerous doses allowed. | IDS-R01 |
| Replay Old Library | CVE-2020-25165 | Outdated guardrails restored. Silently downgrades safety. | IDS-R02 |
| Spoofed ACK | CVE-2020-25163 | Alarm notifications lost. Clinical staff unaware of events. | IDS-R03 |
| Firmware Injection | CVE-2020-25165 | Vulnerable firmware 8.05 pushed. Enables further attacks. | IDS-R04 |

The firmware_version_risk field (Layer 3, rule R05) bridges the network layer and the ML ranking model: a device running firmware with a known CVE contributes directly to a HIGH risk label even if the programming session itself was error-free.

# 7. What Has Been Built — Completion Status

| Status | Step | Component | Details |
| --- | --- | --- | --- |
| ✅ | Step 1 | Refactored architecture | All 27 source files. Pure state machine in src/pump/ with zero React imports. 32 state transition functions. |
| ✅ | Step 2 | Behavioural tests | Test suite in src/tests/ covering state machine, guardrails, feature extraction. |
| ✅ | Step 3 | AI/ML pipeline | featureExtractor.ts, labellingRules.ts (R01–R21), scenarioGenerator.ts (4 profiles), datasetBuilder.ts, deviceSchema.ts. |
| ✅ | Step 4 | Research UI | 5-tab ResearchPanel: Task Mode, Datasets, Scenario Runner, Training, Risk Labeller with CSV upload + dual explainability. |
| ✅ | Step 5 | FastAPI ML backend | Dataset storage, model training (RF/DT/LR), versioned inference with feature contributions, virtual environment. |
| ✅ | Extra | Network simulator | Packet flow visualisation, 4 attack scenarios, 7 IDS detection rules, WiFi state machine. |
| ✅ | Extra | Cybersecurity IDS | Real-time IDS alerts with severity levels and mitigation status. |
| ✅ | Extra | Risk explainability | ruleExplainer.ts: frontend R01–R21 rule engine + model feature contribution bars side-by-side. |
| ✅ | Extra | Generalised schema | deviceSchema.ts: 3-layer extensible schema with VentilatorConfig, PCAConfig, SyringeDriverConfig prototypes. |

| Layer | Technology | Purpose |
| --- | --- | --- |
| Frontend framework | React 18 + TypeScript (strict) | UI components and state management |
| Build tool | Vite | Dev server, hot reload, production build |
| State machine | Pure TypeScript (no framework) | Pump logic, testable without browser |
| AI pipeline | Pure TypeScript (vite-node) | Dataset generation, runs in browser or Node |
| ML backend | FastAPI (Python) | Model training, versioned inference |
| ML algorithms | scikit-learn | Random Forest, Decision Tree, Logistic Regression |
| Model serialisation | joblib | Save/load trained .pkl models |
| Data manipulation | pandas | CSV loading, feature matrix construction |
| Font | Share Tech Mono (Google Fonts) | Medical device LCD aesthetic |
| Testing | Vitest | Unit tests for state machine and AI pipeline |

# 8. Updated Research Roadmap

The original roadmap has been superseded. Following a review of published CVE data across seven infusion pump models and the limitations of the current flat risk_score, the project is expanding in two parallel directions: (1) a four-layer composite risk scoring system with an energy-label grade, and (2) a multi-device expansion beginning with the B. Braun Infusomat Space LVP.

## 8.1 Core Insight — Why the Current Risk Score Is Insufficient

The current risk_score (0.0–1.0) collapses all risk factors into a single number derived from R01–R21 rule triggers. This hides the source of the risk. A score of 0.75 could mean:

A nurse made a 50% dose error on a perfectly maintained, connected pump (interaction risk)

A perfectly programmed session on a pump with a known firmware CVE (security risk)

A correct session on a neglected, battery-dead, isolated pump (system risk)

These are clinically very different situations requiring different interventions. The new system scores each source independently before combining them into a single grade.

## 8.2 Four-Layer Composite Risk Score

Every training record will carry four sub-scores and one composite, replacing the single risk_score:

| Layer | Name | What It Measures | Weight |
| --- | --- | --- | --- |
| Layer 0 | Design Score | Inherent device design quality — fixed per device model, not per session. Drug library presence, guardrail tiers, CVE count, FDA recall count, bolus limits, display quality. | 20% |
| Layer 1 | Interaction Score | How the nurse programmed the device. Entry errors, correction count, golden path ratio, boundary hits, entry time, confirmed wrong value. | 30% |
| Layer 2 | Configuration Score | How the device was set up for this session. Drug library used, guardrails active, VTBI set, bolus delivered, pressure alarm level. | 25% |
| Layer 3 | System Score | Physical and cyber state of the device. Maintenance recency, battery level, firmware CVE, network connectivity, library age, config drift, recent alarms. | 25% |

Composite formula:

Composite = (0.20 × Design) + (0.30 × Interaction) + (0.25 × Configuration) + (0.25 × System)

All sub-scores are normalised to 0.0–1.0 before weighting. Composite is also 0.0–1.0.

## 8.3 Device Risk Grade — A+ to F

The composite score maps to a letter grade modelled on the EU energy label system. A clinician, biomedical engineer, or hospital procurement officer immediately understands what grade C means versus grade A+ without reading a number.

| Grade | Score Range | Clinical Meaning | Typical Trigger |
| --- | --- | --- | --- |
| A+ | 0.00 – 0.10 | Exceptional. All safeguards active, no violations, modern firmware. | Ideal scenario + correct entry + no CVE |
| A | 0.11 – 0.20 | Very low. Minor environmental risk only. | One MEDIUM rule, everything else clean |
| B | 0.21 – 0.35 | Low. One or two medium factors present. | R13 (no VTBI) or R18 (no gateway) alone |
| C | 0.36 – 0.50 | Moderate. Multiple medium factors or one elevated. | Neglected device + minor entry error |
| D | 0.51 – 0.65 | Elevated. Combination risk or single high factor. | Firmware CVE + soft override |
| E | 0.66 – 0.80 | High. HIGH rule fired or multiple compounding factors. | R02 (50% error) + battery low + no gateway |
| F | 0.81 – 1.00 | Critical. Immediate patient harm is plausible. | R01 (10x error) or R07 (KCl cardiac arrest) |

## 8.4 Layer 0 — Design Score Factors

The Design Score is computed once per device model, not per session. It captures how well the device was engineered for safety independent of how it is used. This is the factor that procurement teams and HTM/biomedical departments should act on.

| Design Factor | Alaris GP | B. Braun Infusomat | Graseby 3100 | Risk Contribution |
| --- | --- | --- | --- | --- |
| Drug library present | ✅ | ✅ | ❌ | +0.00 if yes / +0.30 if no |
| Hard guardrails present | ✅ | ✅ | ❌ | +0.00 if yes / +0.25 if no |
| VTBI programmable | ✅ | ✅ | ❌ | +0.00 if yes / +0.15 if no |
| Anti-free-flow protection | ✅ | ✅ | ❌ | +0.00 if yes / +0.10 if no |
| Guardrail tiers | 2 (soft/hard) | 3 (advisory/soft/hard) | 0 | Fewer tiers = higher score |
| CVE count (published) | 13 | 5 | 0 | +0.04 per CVE, capped at 0.40 |
| FDA Class I recall count | 3+ | 2 | 0 | +0.05 per recall, capped at 0.20 |
| Bolus max volume | 5 ml | 2 ml | N/A | Larger bolus = more risk potential |
| Firmware signing | Partial | No (CVE-2021-33885) | N/A | +0.15 if unsigned firmware confirmed |
| Display clarity | Text LCD | Graphic LCD | Basic numeric | Qualitative 0.00–0.10 |

Design scores for the three surveyed devices (illustrative, pre-validation):

| Device | Design Score | Grade Contribution |
| --- | --- | --- |
| BD Alaris GP | 0.52 | D — high CVE count despite strong drug library |
| B. Braun Infusomat Space | 0.38 | C — fewer CVEs, better guardrail tiers, but unsigned firmware |
| Graseby 3100 | 0.80 | E/F — no library, no guardrails, no network, but zero CVEs |

Note: Graseby 3100 scores high on design risk not because it is vulnerable to cyberattack (it has no network surface) but because its design provides no computational safety safeguards. This distinction is important: Graseby is a safety risk by design; B. Braun is a security risk by implementation.

## 8.5 Infusion Pump Landscape — Devices Surveyed

Seven infusion pump models were researched using publicly available manuals, FDA databases, and CISA advisories:

| Device | Type | CVEs | Highest CVSS | FDA Class I Recalls | Manual Available | Priority |
| --- | --- | --- | --- | --- | --- | --- |
| BD Alaris GP | Volumetric LVP | 13 | 9.8 | 3+ | ✅ (already built) | COMPLETE |
| B. Braun Infusomat Space | Volumetric LVP | 5 | 9.0 | 2 | ✅ bbraunusa.com | NEXT — Step 3 |
| Baxter Sigma Spectrum | Volumetric LVP | 4 | 7.5 | 3 | ✅ prescottsmed.com | Phase 2 |
| ICU Medical Plum 360 | Volumetric LVP | 0* | N/A | 2 | ✅ infusystem.com | Phase 2 |
| Fresenius Kabi Agilia VP | Volumetric LVP | 13 | 7.5 | 2 | ✅ bbraunusa.com | Phase 3 |
| BD Alaris CC Syringe Module | Syringe Driver | 13 | 9.8 | 3+ | ✅ bd.com | Phase 3 |
| Smiths CADD-Solis | PCA Ambulatory | 2 | 9.9 | 3 | ✅ icumed.com | Phase 3 |
| Graseby 3100 | Basic Syringe | 0 | N/A | 0 | ✅ ardusmedical.com | Phase 4 (baseline) |

* Plum 360 has no confirmed CVEs but shares architecture with Hospira Symbiq which had confirmed vulnerabilities.

## 8.6 B. Braun Infusomat Space — Key Differences from Alaris GP

Why B. Braun first: same rate range (0.1–1200 ml/h), publicly available manual, clinically grounded CVEs, and a three-tier guardrail system that meaningfully extends the schema.

| Feature | Alaris GP | B. Braun Infusomat Space | Schema Impact |
| --- | --- | --- | --- |
| Rate range | 0.1–1200 ml/h | 0.1–1200 ml/h | No change to RATE_MIN/MAX |
| Guardrail tiers | 2 (soft/hard) | 3 (advisory/soft/hard) | New field: guardrail_advisory_shown, guardrail_advisory_overridden |
| Drug library size | 10 (demo) | 1,500 entries | drug_library_age_days more critical |
| Bolus max volume | 5 ml | 2 ml | New field: bolus_max_ml per device |
| Network component | Integrated | SpaceCom2 module | New field: spacecom2_connected |
| Firmware signing | Partial | None (CVE-2021-33885) | New rule: BB-R01 firmware unsigned |
| Occlusion alarm | Hardware | Software (recalled) | New rule: BB-R05 recall batch flag |
| Display | Text LCD | Graphic LCD | Design score component |
| Highest CVE CVSS | 9.8 | 9.0 | firmware_version_risk weighting |
| Bolus auto-reduction | No | Yes (on occlusion) | Different bolus risk model |

B. Braun specific risk rules (BB-R01 to BB-R05):

| Rule | Condition | Severity | Source |
| --- | --- | --- | --- |
| BB-R01 | Firmware not cryptographically signed — remote takeover possible | HIGH | CVE-2021-33885, CVSS 9.0 |
| BB-R02 | SpaceCom2 module connected and unpatched (firmware ≤L81) | HIGH | CISA ICSMA-21-294-01 |
| BB-R03 | Advisory warning dismissed AND rate within 10% of soft limit | MEDIUM | Clinical judgement — advisory exists for a reason |
| BB-R04 | Bolus volume > 1.5 ml (75% of 2 ml hard maximum) | MEDIUM | DFU manual bolus limits |
| BB-R05 | Device flagged as affected by faulty occlusion alarm recall (2023) | HIGH | FDA Class I Recall — 1 death, vasopressor interruption |

## 8.7 Five-Step Build Plan

Steps are sequential. Each step produces working, testable output before the next begins.

| Step | What | Files Affected | Deliverable |
| --- | --- | --- | --- |
| Step 1 | Risk Score Template Replace flat risk_score with 4-layer composite + A+/A/B/C/D/E/F grade | featureExtractor.ts labellingRules.ts researchApi.ts server/main.py ResearchPanel.tsx (labeller tab) | Every TrainingRecord carries design_score, interaction_score, config_score, system_score, composite_score, grade |
| Step 2 | Layer 0 Design Score Registry Device design factors database — one entry per device model | src/ai/deviceDesign.ts (new) deviceSchema.ts (updated) | computeDesignScore(deviceModel) returns 0–1 with breakdown of which factors contributed |
| Step 3 | B. Braun Infusomat Space Simulator New state machine for Infusomat Space with 3-tier guardrails | src/pump/braun/ (new directory) src/ai/braunRules.ts (new) deviceSchema.ts (BraunConfig) | Working Infusomat Space simulator producing BraunTrainingRecord with BB-R01 to BB-R05 rules |
| Step 4 | B. Braun UI Tab Second pump tab with Infusomat Space visual style | src/components/BraunInfusomat.tsx (new) App.tsx (new tab) | Interactive B. Braun pump UI alongside Alaris GP tab |
| Step 5 | Unified Multi-Device Dataset Single classifier trained on both device types | datasetBuilder.ts server/main.py (one-hot encoding) ResearchPanel.tsx (training tab) | Combined CSV with device_type column, unified model, grade distribution across both devices |

## 8.8 TrainingRecord Schema Changes (Step 1 Target)

New fields added to every TrainingRecord, replacing the single risk_score and risk_label:

| Field | Type | Description |
| --- | --- | --- |
| design_score | number (0–1) | Layer 0: inherent device design risk, fixed per device model |
| interaction_score | number (0–1) | Layer 1: nurse programming behaviour risk for this session |
| configuration_score | number (0–1) | Layer 2: device setup risk for this session |
| system_score | number (0–1) | Layer 3: physical/cyber device state risk |
| composite_score | number (0–1) | Weighted combination of all four layers |
| grade | A+ ¦ A ¦ B ¦ C ¦ D ¦ E ¦ F | Energy-label style risk grade |
| design_reasons | string[] | Which design factors contributed to design_score |
| interaction_reasons | string[] | Which interaction rules fired (was risk_reasons) |
| configuration_reasons | string[] | Which configuration rules fired |
| system_reasons | string[] | Which system rules fired |
| risk_label | low ¦ medium ¦ high | Retained for backwards compatibility, derived from grade |
| risk_score | number (0–1) | Retained as alias for composite_score |

## 8.9 Academic Grounding for Multi-Device Expansion

The following published works directly support the multi-device generalisation approach:

| Reference | Relevance |
| --- | --- |
| Cauchi et al. (2011) EICS4Med | Defines interaction feature set (correction_count, golden_path_ratio, error_magnitude) — device-independent by design |
| Thimbleby & colleagues — "Reusing models and properties in the analysis of similar interactive devices" (Springer) | Formally proves that pump interaction models transfer across device types; foundational for multi-device Layer 1 |
| "A review of human factors and infusion pumps" (Frontiers, 2025) PMC11841431 | Five-brand comparison; one pump had 5× more use errors than competitors — validates that device design (Layer 0) independently predicts risk |
| "Human-based Errors Involving Smart Infusion Pumps" PMC7750013 | IV infusion associated with 54% of adverse drug events, 61% of serious errors — scale of the problem |
| Generic Infusion Pump Hazard Analysis v1.0 (FDA-funded, ResearchGate) | Generic hazard model maps directly onto the 4-layer schema; provides regulatory legitimacy |
| CISA ICSMA-21-294-01 — B. Braun CVEs | CVE-2021-33885 (CVSS 9.0): firmware integrity entirely compromised remotely — grounds BB-R01 and BB-R02 |
| IEC 60601-2-24:2012 | Defines essential performance (accurate delivery) as the primary hazard model — aligns with Layer 2 configuration scoring |

## 8.10 Success Criteria

| Milestone | Criterion |
| --- | --- |
| Step 1 complete | Every generated TrainingRecord has 4 sub-scores + composite + grade. Grade distribution across 500 records: A+/A ≈ 25%, B/C ≈ 45%, D/E/F ≈ 30% |
| Step 2 complete | computeDesignScore("alaris_gp") and computeDesignScore("braun_infusomat") return different, explainable scores |
| Step 3 complete | B. Braun simulator drives programmatically; produces 500 records; BB-R01–BB-R05 fire at expected rates |
| Step 4 complete | B. Braun UI tab shows 3-tier guardrail interaction; advisory warning shown and loggable |
| Step 5 complete | Unified classifier trained on 1000 records (500 Alaris + 500 Braun); device_type is a learnable feature; F1 per class > 0.85 |